## Summary
Non-Wires Alternative Solution Questionnaire (Attachment A)
Please submit one project questionnaire for each area you are proposing to address with your solution. Implementation contractors and consultant services will not be given prioritized review. Solutions proposed must be a technology used for demand reduction in a specified area. Contacts will be used for any interactions.
Project Name | Pomona Distributed Energy Resources Program
Company Information
Company Name
Contact Person Name
Contact Person Number
Contact Person Email
Company Experience, years
Total Peak load reduction, kW | 0
Total Energy Savings, kWh | 0
Total O&R Cost | 0
Total Customer Contribution | 0

## Energy
Non-Wires Alternatives - Technical Solution Detail
Target Number of Customers |  |  | 0
Pomona system peaks at, hour ending |  |  | 17
Peak Load Relief, kW |  |  | 0
Provide Demand Reduction per measure per Hour | [6 empty] | Demand Reduction per hour (KW) - HOUR ENDING
Distributed Energy Storage System | Year in service | Service Duration (in years) | Customer Type (Residential, C&I, Both) | Target Number of Customers | Type of Technology | Nameplate Load Relief, kW | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | Annual Energy Savings, kWh
DESS 1
DESS 2
DESS 3
DESS 4
DESS 5
Total |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Environmental (Please provide the impacts your solution will make pertaining to the emissions listed below). **Applicable to distributed generation technologies only** |  |  | Impacts | Proposed Solution Impacts
CO2 (lb/MWh)
SO2 (lb/MWh)
Nox (lb/MWh)
CO (lb/MWh)
PM10 (lb/MWh)
PM2.5 (lb/MWh)
VOCs (lb/MWh)
Lead (lb/MWh)
Noise (db)
|  |  | Battery parameters | Proposed solution
State of charge indicator
Upper charge limit
Lower charge limit
Max energy charge rate
Max energy discharge rate
Minimum charge time
Maximum charge time
Minimum run time
Maximum run time

## Financials
Non-Wires Alternatives - Financial Solution Detail
Customer Financial Vehicle (Check all that apply) |  | Lease | Own | PPA | Other
Describe
Provide cost breakout per DER measure
Distributed Energy Resource - Measures | Material Cost | Labor Cost | Administration Cost | Total Cost | Customer Contribution | O&R Net Cost | Measure Lifespan, years | Contract Term, Years
0 |  |  |  | 0 | 0 | 0
DESS 1 |  |  |  | 0 |  | 0
DESS 2 |  |  |  | 0 |  | 0
DESS 3 |  |  |  | 0 |  | 0
DESS 4 |  |  |  | 0 |  | 0
DESS 5 |  |  |  | 0 |  | 0
Total Cost | 0 | 0 | 0 | 0 | 0 | 0
Annual O&M (if applicable)
Desciption of Costs. Identify all costs to deploy the project (including, for example, all permitting, land acquisition, site development, local/state/federal requirements, etc), and clearly identify any costs not assumed by respondent as well as funding from other sources.

## Add. Criteria
Non-Wires Alternatives - Additional Review Criteria
Provide detail response per each category. Orange & Rockland will utilize an evaluation framework to develop the optimal portfolio to address these needs. Some primary review criteria of the qualified proposals received are listed below. This process is designed to be fair and equitable, with the objective to select a solution(s) that provide the greatest overall value.
Execution Risk: The expected ease of project implementation within the timeframe required for the non-wire alternative. (e.g. Permitting, construction risks, operating risks) List risk as low, medium or high. | Permiting | Construction | Operating
Applicability and Viability The extent to which the respondents proposed solution would fit into the needs of the targeted areas, the customer segment target and acquisition strategy. Describe any preliminary customer commitments within target areas, which will be highly considered. The extent to which solution supports the goals and objectives outlined in the REV proceedings
Functionality: The extent to which the proposed solution would meet the defined requirements and the ability to provide demand reduction during the time and area of need. Include any applicable technical information, not limited to, dispatchability, required notifications, etc.
Timeliness: The ability to meet O&R’s schedule and project deployment requirements for the particular non-wires alternative opportunity. Provide detailed project schedule from contract execution to implementation and completion of projects which is important for determination of feasibility.
Community Impact: The positive or negative impact that the proposed solution may have on the community in the identified area (i.e. noise, pollution, visual impacts etc.). Also include impact of construction period as applicable.
Availability and Reliability: The ability of the resource to provide permanent or temporary load relief. Describe dependability, ensurance of resource performance, any risk mitigation strategies considered, maintenance requirements, emergency response plans, etc.

## Drop Downs (hidden)
Low | Energy Efficiency | Residential (1-4 units)
Medium | Demand Response | Multifamily (Over 5 units)
High | Distributed Generation | Small Business
| Energy Storage | Commercial Industrial
| Thermal Energy Storage | City or State Agency
| Other Technology | All Segments
Other

## DB (hidden)
Project Number | Market Partner | DER Type | Peak Load Relief, kW | Annual Energy Savings, kWh | Total Cost per Measure | Con Ed Incentive | Measure Life | Execution Risk | Qualifications | Functionality | Timeliness | Community Impact | Applicability and Viability | Availability and Reliability | Customer Segment | Customer Number | Nameplate Load Relief
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0
| 0 | DESS 1 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0
| 0 | DESS 2 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0
| 0 | DESS 3 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0
| 0 | DESS 4 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0
| 0 | DESS 5 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0
| 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!